Macro analysis description

- Fluorescence images were saved as individual channel images in grey scales (TIF-file)

Cell area

- Phalloidin images were used for cell area analysis

- The original images were organized in the following way:

  - Head folder (e.g. “Cell_area_quantification”) that contained subfolders with the sample types (one folder for each sample type, e.g. “polished”, “anodized”, “OH_ND_15k”)

  - Each subfolder (e.g. “polished”) contained a folder with the name “Input” and one folder with the name “Output”

  - All phalloidin images (exported from the microscope, no image adjustment such as brightness or contrast was performed) of the respective sample were copied into the Input folder

  - The folder names (head folder as well as all sub folders) should not contain spaces, otherwise the macro is not functioning

- The macro was opened in ImageJ software and started

- The macro requested to choose a folder  head folder was chosen

- The macro automatically analysed all images in the subfolders saved the results as a csv file

- The values in the csv list have the unit µm2

- Afterwards the images were checked for mistakes in the analysis and cells with wrongly determined cell area were excluded (cell shape defined by ImageJ was compared with the real cell shape)

Cell nuclei

- Folder structure was the same as for the cell area, but DAPI images were analyzed

- Each input folder contained 5 images (it’s also possible to use a different number of images, but it is important that each folder contains the same number of images, because ImageJ just adds together the number of nuclei of all images in the input folder. For calculating the number of cells per cm2 you must know how many images were analyzed)

- If more or less than five images were in the input folder ImageJ automatically gave an information that the image number is not correct in the specific folder (but still performed the analysis)

- The total number of nuclei from the five images was used for further calculations

- Same procedure as for the cell area: macro was opened and started and head folder was chosen

- Afterwards the shape of the detected nuclei was thoroughly checked for mistakes