## information
Electronic supplementary material for:
Rapid quantification method of pharmaceuticals in urban wastewater using UHPLC-Orbitrap mass spectrometry – a multi target approach for EU-directive advanced treatment evaluation
Journal: Analytical and Bioanalytical Chemistry
Uta Hofmanna, Reinhard Oertela, Nancy Engela, Johannes Zanderb, Annemarie Lipperta, Sara Schubertb, Bertold Rennera
corresponding author: Uta Hofmann, uta.hofmann@tu-dresden.de
TUD Dresden University of Technology, Institute of Clinical Pharmacology, Faculty of Medicine Carl Gustav Carus, Dresden, Germany
TUD Dresden University of Technology, Institute of Hydrobiology, Dresden, Germany

## WWTP Monitorings
Pharmaceutical concentrations in ng/L
WWTP-A
IN
sample | date | Amisulpride | Candesartan | Carbamazepin | Citalopram | Clarithromycin | Diclofenac | Irbesartan | Metoprolol | Propranolol | Tramadol | Valsartan | Venlafaxine
1 | 2025-09-04 | 395.4 | 4451.5 | 687.2 | 112.3* | <LOQ | 2983.1 | 554.5 | 3042.2 | 70.4* | 5704.1 | >ULOQ | 1108.3
2 | 2025-09-05 | 200.9 | 4249.8 | 615.7 | 89* | <LOQ | 2646.5 | 470.8 | 2865.3 | 63.4* | 1504.9 | >ULOQ | 1053.7
3 | 2025-09-06 | 336.4 | 5701.2 | 727.5 | 152.6 | 44.2* | 4227.6 | 699.6 | 3460.3 | 79.1* | 948.5 | >ULOQ | 1219.1
4 | 2025-09-07 | 286.8 | 4984.6 | 741.2 | 151.1 | <LOQ | 4002.5 | 637.9 | 3310.4 | 77.2* | 849.8 | >ULOQ | 1121.1
5 | 2025-09-08 | 280.5 | 4804.4 | 744.9 | 135.5 | 37.8* | 4035.4 | 639.9 | 3394.5 | 78.3* | 882.7 | >ULOQ | 1281
6 | 2025-09-09 | 320.6 | 4564.9 | 1029.8 | 115* | 26.6* | 3496.8 | 583.2 | 3314.2 | 74* | 670 | >ULOQ | 1097.2
7 | 2025-09-10 | 158 | 3264.3 | 640.8 | 60.3* | 39.5* | 2287.7 | 414 | 2132.4 | 47* | 344.8 | >ULOQ | 762.7
OUT
sample | date | Amisulpride | Candesartan | Carbamazepin | Citalopram | Clarithromycin | Diclofenac | Irbesartan | Metoprolol | Propranolol | Tramadol | Valsartan | Venlafaxine
8 | 2025-09-04 | 197.7 | 3446 | 709.9 | 127.3 | 45.5* | 2042.7 | 379.2 | 1791 | 49.2* | >ULOQ | 1338.6 | 674.3
9 | 2025-09-05 | 233.7 | 4084.4 | 711.8 | 146 | 52.3* | 2160.2 | 416.7 | 2015.3 | 53.2* | 13260.7 | 1458.4 | 758
10 | 2025-09-06 | 234 | 3941 | 721 | 151.5 | 57.1* | 2058.3 | 420 | 2134.6 | 56.9* | 6854.3 | 1292.9 | 766
11 | 2025-09-07 | 280.2 | 4286.3 | 783.4 | 164.4 | 71.3* | 2397.4 | 435.5 | 2117.1 | 59.4* | 3588.7 | 1219.2 | 826.8
12 | 2025-09-08 | 288.3 | 4330.1 | 826.2 | 174.5 | 67.3* | 2502.1 | 457.8 | 2204.2 | 57.5* | 2105.7 | 1394.7 | 817.4
13 | 2025-09-09 | 309.9 | 4438.5 | 843.5 | 171.4 | 75.1* | 2861.6 | 465.5 | 2322 | 60.8* | 1331.4 | 1288.1 | 799.6
14 | 2025-09-10 | 282.4 | 4052.1 | 781.2 | 159.6 | 69.5* | 2636.1 | 455.3 | 2196.3 | 63.5* | 841.3 | 1363 | 839.7
WWTP-B | [13 empty] | 17.000 EW Kapazität | https://www.azv-zschopau.de/verband_kennzahlen.cfm
sample | date | Amisulpride | Candesartan | Carbamazepin | Citalopram | Clarithromycin | Diclofenac | Irbesartan | Metoprolol | Propranolol | Tramadol | Valsartan | Venlafaxine
IN
15 | 2025-01-11 | <LOQ | <LOQ | 3304.8 | <LOQ | <LOQ | 8042.5 | <LOQ | 3704.2 | <LOQ | <LOQ | 898.1 | <LOQ
16 | 2025-01-12 | 45.2* | 1627.4 | 1151 | 106.2 | 215.5 | 1316.4* | 318.7 | 3429.8 | 275.1 | 1395.2 | >ULOQ | 690.5
17 | 2025-01-13 | 64.8 | 8771.6 | 1467.4 | 110.6 | 127.3 | 10072.1 | 1249.3 | 5098.2 | 60.2* | 555.3 | >ULOQ | 790.2
18 | 2025-01-14 | 37.9* | 4212.5 | 819.4 | 35.9* | 397.7 | 7180.8 | 1170.3 | 4932.2 | 105 | 749.9 | >ULOQ | 921.3
19 | 2025-01-15 | 83.3 | 2877.3 | 813.1 | 76.5 | 442 | 7157 | 613.6 | 3961.9 | 66.8* | 884.9 | >ULOQ | 1002.9
20 | 2025-01-16 | 26.4* | 1560.7 | 461.6 | 50.6* | 448.7 | 1868.5 | 339.3 | 1891.7 | 34.9* | 442.1 | >ULOQ | 473.8
21 | 2025-01-17 | 32.1* | 2334.1 | 668.8 | 70.8 | 424.7 | 3532.5 | 528.6 | 2850.5 | 57.6* | 869.2 | >ULOQ | 862.1
22 | 2025-01-18 | 44* | 3190.4 | 836.7 | 79.6 | 538.3 | 6357 | 621.1 | 3512 | 60.2* | 1219.5 | >ULOQ | 1021.2
23 | 2025-01-19 | 218.3 | 3399.2 | 947.6 | 88.8 | 691.5 | 7626.7 | 600 | 3730.2 | 52.5* | 1187.5 | >ULOQ | 1005.7
OUT
sample | date | Amisulpride | Candesartan | Carbamazepin | Citalopram | Clarithromycin | Diclofenac | Irbesartan | Metoprolol | Propranolol | Tramadol | Valsartan | Venlafaxine
24 | 2024-12-23 | 75.3 | 3212.4 | 1295.2 | 60.9* | 837 | 5540.6 | 307.9 | 2401.2 | 63.1* | <LOQ | >ULOQ | 852.8
25 | 2024-12-24 | 78.1 | 2563.8 | 1223.8 | 58.7* | 868.8 | 4816.6 | 412.6 | 2222.1 | 61.2* | 908.3 | >ULOQ | 755.9
26 | 2024-12-25 | 85.6 | 2578.8 | 1212 | 58.4* | 753.7 | 3864.6 | 375.4 | 2128.4 | 59.3* | <LOQ | >ULOQ | 715.4
27 | 2024-12-26 | 95.3 | 2551.2 | 1188.8 | 55.1* | 687.6 | 3886 | 405.1 | 2063.1 | 58.7* | <LOQ | 4949.9 | 685.8
28 | 2024-12-27 | 104.5 | 2702 | 1276 | 56.2* | 323 | 2909.5 | 351.5 | 2358.8 | 60* | 909.3 | >ULOQ | 705.7
29 | 2024-12-28 | 104.8 | 2966.7 | 1297 | 59.5* | 743.5 | 3767.6 | 431.1 | 2487.2 | 59.9* | <LOQ | >ULOQ | 775.7
30 | 2024-12-29 | 127.2 | 2988.3 | 1393.1 | 60.1* | 500.3 | 4294.7 | 373.2 | 2656.4 | 60.1* | 821.2 | >ULOQ | 790.6
31 | 2024-12-30 | 83.9 | 1915.6 | 879.3 | 44.6* | 372.3 | 2406.2 | 296.1 | 1770.4 | 39.8* | 501.4 | 4131.5 | 534
32 | 2024-12-31 | 147 | 3459.1 | 1518 | 62.9* | 399 | 4105.3 | 360.4 | 2954.9 | 62.4* | 835.5 | >ULOQ | 869.9
33 | 2025-01-01 | 151.1 | 3454.2 | 1371.7 | 67 | 458.5 | 4097.7 | 756.1 | 3012.7 | 69.7* | <LOQ | >ULOQ | 926
34 | 2025-01-02 | 159.2 | 3801.7 | 1541.7 | 68.9 | 463.5 | 4837.4 | 801.5 | 3220.7 | 70.5* | 888.6 | >ULOQ | 943.1
35 | 2025-01-03 | 147.3 | 3524.4 | 1445.5 | 68.7 | 341.4 | 4067.7 | 736.2 | 2948 | 68.8* | <LOQ | >ULOQ | 943.8
36 | 2025-01-04 | 129.1 | 2545.7 | 1193 | 60.7* | 272.4 | 3876 | 621.6 | 2354.6 | 62.7* | <LOQ | >ULOQ | 752.1
37 | 2025-01-05 | 120.5 | 2835.9 | 1259.7 | 55.4* | 254.2 | 3972.7 | 558.4 | 2461.1 | 63.2* | <LOQ | >ULOQ | 747
38 | 2025-01-06 | 226.6 | 3015.1 | 1422.3 | 83 | 313.1 | 3400.5 | 578.4 | 2595.1 | 98.8 | 871.9 | >ULOQ | 970.3
WWTP-C
IN
39 | 2025-05-13 | 632.7 | 3825.5 | 159.4 | 167.3 | <LOQ | 13660.9 | 1203.6 | 5117.4 | 116.2 | 421.3 | >ULOQ | 967
40 | 2025-08-19 | 550.7 | 5720.7 | 352.6 | 248.3 | 321.8 | 10691.7 | 390.7 | 7602.9 | 233.4 | 670.4 | >ULOQ | 1669.6
41 | 2025-12-01 | 817.2 | 4306.1 | 255 | 217.3 | <LOQ | 11240 | 460.8 | 7391.6 | 136.3 | 703.2 | >ULOQ | 1811.8
OUT
42 | 2025-05-13 | 837.8 | 3176.5 | 255.7 | 161.2 | <LOQ | 4004.2 | 410.9 | 5301.4 | 132.3 | 379 | >ULOQ | 983.6
43 | 2025-08-19 | 737.6 | 4395.3 | 353 | 233.8 | 126.7* | 7711 | 517.9 | 6752.9 | 191.5 | 434.2 | >ULOQ | 1386.4
44 | 2025-12-01 | 413.9 | 2710.4 | 205.3 | 192.9 | 154.9 | 5054.8 | 438.2 | 5975.5 | 172.1 | 521.6 | 14397.7 | 1230.5
WWTP - D
IN
45 | 2025-08-19 | 34.9* | 201.3* | 2570.1 | 297.9 | 981.6 | 3882.3 | 72.1* | 1110.4 | <LOQ | 2134.1 | 80.4* | 520.7
OUT
46 | 2025-05-13 | 859.7 | 563.6 | 541.1 | 177.8 | 357.3 | 673.5* | <LOQ | 682.6 | 24* | 516.9 | 617.4 | 293.3
47 | 2025-08-19 | <LOQ | 102.5* | 2314.8 | 463.1 | >ULOQ | 7476.4 | 1562.1 | 2303.2 | <LOQ | 3169.8 | 7506 | 742.5
WWTP - E
IN
48 | 2025-08-19 | 5665.2 | 853.9 | 1610.7 | 260.5 | 109.3* | 17557.8 | <LOQ | 966 | <LOQ | 2026.4 | 10678.2 | 625.1
OUT
49 | 2025-05-13 | 3728.3 | 470.7 | 1837 | 197.8 | 1426.2 | 2323.3 | 332.9 | 796.5 | <LOQ | 4002.2 | 268.3 | 1163
50 | 2025-08-19 | 5988.7 | 592.5 | 2007.5 | 310.7 | 703.4 | 4820.3 | 270.4 | 914.5 | 19.3* | 5019.3 | 280.7 | 1399.7
WWTP - F
IN
51 | 2025-08-19 | 261.1 | 301.6* | 839.2 | 247.6 | 262.4 | 13855.1 | 139.7* | 1390 | <LOQ | 3102.6 | 12764.6 | 672.2
OUT
52 | 2025-08-19 | 341.8 | 270.1* | 1038.5 | 158.5 | 282.5 | 3603.7 | 230.8* | 510.3 | <LOQ | 2111.6 | 194.5 | 467.4
FLAGS
n
52
| < LOQ [%] | 3.8462 | 1.9231 | 0 | 1.9231 | 13.4615 | 0 | 5.7692 | 0 | 13.4615 | 17.3077 | 0 | 1.9231
| < 5* LOQ [%] | 15.3846 | 9.6154 | 0 | 34.6154 | 38.4615 | 3.8462 | 11.5385 | 0 | 82.6923 | 17.3077 | 1.9231 | 1.9231
| > ULOQ [%] | 0 | 0 | 0 | 0 | 1.9231 | 0 | 0 | 0 | 0 | 1.9231 | 63.4615 | 0

## Removal rate calculation
Kaditz - WWTP-A
Pharmaceutical concentrations in ng/L
IN
sample | date | Amisulpride | Candesartan | Carbamazepin | Citalopram | Clarithromycin | Diclofenac | Irbesartan | Metoprolol | Propranolol | Tramadol | Valsartan | Venlafaxine
1 | 2025-09-04 | 395.4 | 4451.5 | 687.2 | 112.3* | <LOQ | 2983.1 | 554.5 | 3042.2 | 70.4* | 5704.1 | >ULOQ | 1108.3
2 | 2025-09-05 | 200.9 | 4249.8 | 615.7 | 89* | <LOQ | 2646.5 | 470.8 | 2865.3 | 63.4* | 1504.9 | >ULOQ | 1053.7
3 | 2025-09-06 | 336.4 | 5701.2 | 727.5 | 152.6 | 44.2* | 4227.6 | 699.6 | 3460.3 | 79.1* | 948.5 | >ULOQ | 1219.1
4 | 2025-09-07 | 286.8 | 4984.6 | 741.2 | 151.1 | <LOQ | 4002.5 | 637.9 | 3310.4 | 77.2* | 849.8 | >ULOQ | 1121.1
5 | 2025-09-08 | 280.5 | 4804.4 | 744.9 | 135.5 | 37.8* | 4035.4 | 639.9 | 3394.5 | 78.3* | 882.7 | >ULOQ | 1281
6 | 2025-09-09 | 320.6 | 4564.9 | 1029.8 | 115* | 26.6* | 3496.8 | 583.2 | 3314.2 | 74* | 670 | >ULOQ | 1097.2
7 | 2025-09-10 | 158 | 3264.3 | 640.8 | 60.3* | 39.5* | 2287.7 | 414 | 2132.4 | 47* | 344.8 | >ULOQ | 762.7
OUT
sample | date | Amisulpride | Candesartan | Carbamazepin | Citalopram | Clarithromycin | Diclofenac | Irbesartan | Metoprolol | Propranolol | Tramadol | Valsartan | Venlafaxine
8 | 2025-09-04 | 197.7 | 3446 | 709.9 | 127.3 | 45.5 | 2042.7 | 379.2 | 1791 | 49.2 | >ULOQ | 1338.6 | 674.3
9 | 2025-09-05 | 233.7 | 4084.4 | 711.8 | 146 | 52.3 | 2160.2 | 416.7 | 2015.3 | 53.2 | 13260.7 | 1458.4 | 758
10 | 2025-09-06 | 234 | 3941 | 721 | 151.5 | 57.1 | 2058.3 | 420 | 2134.6 | 56.9 | 6854.3 | 1292.9 | 766
11 | 2025-09-07 | 280.2 | 4286.3 | 783.4 | 164.4 | 71.3 | 2397.4 | 435.5 | 2117.1 | 59.4 | 3588.7 | 1219.2 | 826.8
12 | 2025-09-08 | 288.3 | 4330.1 | 826.2 | 174.5 | 67.3 | 2502.1 | 457.8 | 2204.2 | 57.5 | 2105.7 | 1394.7 | 817.4
13 | 2025-09-09 | 309.9 | 4438.5 | 843.5 | 171.4 | 75.1 | 2861.6 | 465.5 | 2322 | 60.8 | 1331.4 | 1288.1 | 799.6
14 | 2025-09-10 | 282.4 | 4052.1 | 781.2 | 159.6 | 69.5 | 2636.1 | 455.3 | 2196.3 | 63.5 | 841.3 | 1363 | 839.7
REMOVALS
N/A not considered since: |  | cIN < 5*LOQ
| or | < LOQ
| or | > ULOQ
date | Amisulpride | Candesartan | Carbamazepin | Citalopram | Clarithromycin | Diclofenac | Irbesartan | Metoprolol | Propranolol | Tramadol | Valsartan | Venlafaxine | Mean removal rates per day [%]
2025-09-04 | 50 | 77.4121 | 103.3033 | N/A | N/A | 68.4757 | 68.3859 | 58.8719 | N/A | N/A | N/A | 60.8409 | 28.9252
2025-09-05 | 116.3265 | 96.1081 | 115.6083 | N/A | N/A | 81.6248 | 88.5089 | 70.3347 | N/A | 881.1682 | N/A | 71.937 | 5.2481
2025-09-06 | 69.56 | 69.1258 | 99.1065 | 99.2792 | N/A | 48.6872 | 60.0343 | 61.6883 | N/A | 722.6463 | N/A | 62.8332 | 31.9663
2025-09-07 | 97.6987 | 85.9909 | 105.6935 | 108.8021 | N/A | 59.8976 | 68.2709 | 63.953 | N/A | 422.2994 | N/A | 73.749 | 19.7492
2025-09-08 | 102.7807 | 90.1278 | 110.9142 | 128.7823 | N/A | 62.0038 | 71.5424 | 64.9345 | N/A | 238.5522 | N/A | 63.8095 | 16.2828
2025-09-09 | 96.6625 | 97.231 | 81.9091 | N/A | N/A | 81.8348 | 79.8182 | 70.0622 | N/A | 198.7164 | N/A | 72.8764 | 15.4137
2025-09-10 | 178.7342 | 124.1338 | 121.9101 | N/A | N/A | 115.2293 | 109.9758 | 102.9966 | N/A | 243.9965 | N/A | 110.0957 | -25.4966
[12 empty] | MEAN | 19.5976